## Iloilo
| Site No | Site Name | PMR Date | FO Engineer | VSWR | VSWR Remarks | Combiner | Combiner Remarks | Grounding | Grounding Remarks | VSAT(Outdoor) | VSAT(Outdoor) Remarks | GPS Antenna and Cable | GPS Antenna and Cable Remarks | Outdoor FTP/STP Cable and RJ45 Connector | Outdoor FTP/STP Cable and RJ45 Connector Remarks | Feeder Cable | Feeder Cable Remarks | ODU and Cables | ODU and Cable Remarks | Radio ODU | RADIO ODU Remarks | Access Point | Access Point Remarks | Antenna (Panel) | Antenna (Panel) Remarks | Backup of XML/Config | Backup of XML/Config Remarks | Microwave RSL | Microwave RSL Remarks | Equipment Label | Equipment Label Remarks | Equipment Housekeeping | Equipment Housekeeping Remarks | Equipment Grounding | Equipment Grounding Remarks | Indoor Cable | Indoor Cable Remarks | Indoor FTP/STP Cable and RJ45 Connector | Indoor FTP/STP Cable and RJ45 Connector Remarks | Surge Suppressor | Surge Suppresor Remarks | CMM/Router | CMM/Router Remarks | 19in Rack | 19in Rack Remarks | Radio IDU | Radio IDU Remarks | Multiplexer | Multiplexer Remarks | ODF Patch Panel | ODF Patch Panel Remarks | Leased Cable Facility | Leased Cable Facility Remarks | VSAT(Indoor) | VSAT(Indoor) Remarks | Synchronization | Synchronization Remarks | DC Power Plant(Rectifiers) | DC Power Plant(Rectifiers) Remarks | Battery Discharge Test | Battery Discharge Test Remarks | TVSS and Surge Protection | TVSS and Surge Protection Remarks | AC Power Plant | AC Power Plant Remarks | Genset and ATS | Genset and ATS Remarks | Commercial Power Line/Wind and Solar Power | Commercial Power Line/Wind and Solar Power Remarks | Tower | Tower Remarks | Radio Room | Radio Room Remarks | Premise | Premise Remarks | Site Photo | Site Photo Remarks | Reviewed By Supervisor | Site Class | Date
3303 San Remegio.pdf | 3303 | San Remegio | 2017-01-24 | JAU/CBN | OK |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | Arnel P. Valerio | A | 42759
3304SANJOSETP_032317.pdf | 3304 | San Jose TP | 2017-01-23 | JAU/CBN | OK |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | Arnel P. Valerio | A | 42758
3338UNIVERSITYOFSANAGUSTIN_022117.pdf | 3338 | University of San Agustin | 2017-02-21 | ATD/JAU | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | OK |  | OK | No AC Mains alarm due to defective battery | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | Arnel P. Valerio | A | 2017-03-02
3339SANRAFAEL_010617.pdf | 3339 | SAN RAFAEL | 2017-01-05 | JHP/SCD | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | N/A | NO GENSET AND ATS | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
3340OTONABILAY_011117.pdf | 3340 | Oton Abilay | 2017-01-11 | JAU/CBN | OK |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | Arnel P. Valerio | A | 2017-01-09
4230ANINI-YTP_03272017.pdf | 4230 | Anini-y TP | 2017-03-27 | CBNebria/DYGabawa | OK |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | OK | Manual operation due to def start/stop solenoid | OK | Tap to neighbor | OK |  | N/A |  | OK |  | OK |  |  | A | 42821
4231PATNONGON_032217.pdf | 4231 | Patnongon | 2017-01-22 | JAU/CBN | OK |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | Arnel P. Valerio | A | 42757
4233 Laua-an.pdf | 4233 | Laua-an | 2017-01-25 | JAU/CBN | OK |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | OK | defective ats | OK |  | OK |  | N/A |  | OK |  | OK |  | Arnel P. Valerio | A | 42760
4239CABATUAN_03102017.pdf | 4239 | Cabatuan | 2017-03-10 | SCD/JHP | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | Rectification | for tree cutting | OK |  | OK |  | OK |  | OK |  |  | A | 2017-03-10
4244LEMERY_010617.pdf | 4244 | LEMERY | 2017-01-05 | JHP/SCD | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK | ATS NOT WORKING DUE TO GENSET DEFECTIVE CRANKING MODULE. | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
4245ZARRAGA_031317.pdf | 4245 | ZARRAGA | 2017-03-13 | LAB | N/A |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
4246ANILAO_010417.pdf | 4246 | Anilao | 2017-01-16 | LAB/SCD | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | OK | Bro is extended AP of 4348 Banate | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | Rectification | Genset cranking defective, manual start of genset only | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
4294WVCST_021317.pdf | 4294 | WVMC | 2017-02-13 | ATD | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
4338SANRAFAEL_NARATAN_011017.pdf | 4338 | Miag-ao San Rafael | 2017-01-10 | JAU/CBN | OK |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | Off |  | Off |  | Off |  | OK |  | OK |  | OK |  | OK |  | OK |  | Off |  | Off |  | OK |  | OK |  | OK |  | Arnel Valerio | A | 2017-01-10
4348BANATE-BULARAN_011717.pdf | 4348 | BANATE | 2017-01-19 | LAB/SCD | N/A |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
4351 IGBARAS 021517.pdf | 4351 | IGBARAS | 2017-02-15 | Anjo G. Entes | OK |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
4352MAASIN_03102017.pdf | 4352 | Maasin | 2017-03-10 | SCD/JHP | OK |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | Rectification | for tree cutting | OK |  | OK |  | OK |  | OK |  |  | A | 2017-03-10
4353MINA_030817.pdf | 4353 | MINA | 2017-03-08 | LAB | N/A |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | Rectification | GENSET NOT WORKING, ALREADY ENDORSED TO CSMP FOR RECTIFICATION. | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
4354SANDIONISIO_011717.pdf | 4354 | SAN DIONISIO | 2017-01-18 | LAB/SCD | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | OK | MANUAL OP ONLY, GENSET CRANKING DEFECTIVE. ATS FOR REPLACEMENT | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
4356 TUBUNGAN 021517.pdf | 4356 | TUBUNGAN | 2017-02-15 | Anjo G. Entes | OK |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
4357 Jaro-Ungka.pdf | 4357 | Jaro-Ungka | 2017-02-09 | CBNebria/JAUrbano | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | Rectification | Damage ceiling | OK |  | OK |  |  | A | 42775
4358CUBAY_022117.pdf | 4358 | JARO CUBAY | 2017-02-21 | JJO | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK | Facing Ticud: -37.9dbm;-38.9dbm Facing Balabago: -33.9dbm;-34dbm Facing MH Del Pila: -37.6dbm;-37.7dbm | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK | Auto Mode | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
4374PDMONFORT_030617.pdf | 4374 | DGS-PD MONFORT | 2017-03-06 | SCD/JHP | N/A |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | Rectification | MANUAL OPERATION ONLY | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
700ILOILO4_022217.pdf | 700 | ILOILO 4 | 2017-02-22 | LABINAS | N/A | SA NOT PERFORMED | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | OK |  |  | A
701JANIUAYTP_020717.pdf | 701 | Janiuay TP | 2017-02-07 | AGE/JJO | OK |  | N/A |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  |  | A | 2017-02-07
705PASSI_030217.pdf | 705 | Passi | 2017-03-02 | SCDreo/JHPamplona | OK |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  |  | A | 2017-03-02
722JANIUAY_020717.pdf | 722 | Janiuay | 2017-02-07 | AGE/JJO | OK |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  |  | A | 2017-02-07
723MIAGAO_010917.pdf | 723 | Miag-ao | 2017-01-09 | JAU/CBN | OK |  | N/A |  | OK |  | N/A |  | OK |  | OK | need regrooming | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK | twin tower conversion | OK |  | OK |  | OK |  | Arnel P. Valerio | A | 2017-01-09
725SANJOSEBINIRAYAN_032317.pdf | 725 | San Jose, Binirayan | 2017-01-23 | JAU/CBN | OK |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | Arnel P. Valerio | A | 42758
729LEGANES_030617.pdf | 729 | LEGANES | 2017-03-07 | LAB | N/A |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
734 Mandurriao.pdf | 734 | Mandurriao | 2017-02-08 | CBNebria/JAUrbano | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK | Prime site | OK |  | OK |  | OK |  | OK |  | OK |  |  | A | 42774
737ILODOWNTOWN_022117.pdf | 737 | ILOILO DOWNTOWN | 2017-02-21 | LABINAS | N/A | SA NOT PERFORMED | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A | equipment built-in | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | OK |  |  | A
745SARA_010417.pdf | 745 | SARA | 2017-01-04 | LABINAS | N/A | SA NOT PERFORMED | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK | FACING SAN DIONISIO @ 80 deg (110 ft). 0.9m (1 sidestrut) | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A | BUILT-IN @ EQUIPMENT | N/A |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | N/A | C/O PLDT | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
746BAROTACNUEVO_022217.pdf | 746 | BAROTAC NUEVO | 2017-01-26 | LABINAS | N/A | SA NOT PERFORMED | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | OK |  |  | A
747 GUIMBAL 021617.pdf | 747 | GUIMBAL | 2017-02-16 | Anjo G. Entes | OK |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
749Arevalo_012617.pdf | 749 | Arevalo | 2017-01-26 | Anjo G. Entes | OK |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  |  | Off
760TIGBAUAN_011217.pdf | 760 | Tigbauan | 2017-01-12 | JAU/CBN | OK |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | Arnel P. Valerio | A | 2017-01-12
761AJUY_020217.pdf | 761 | AJUY | 2017-02-02 | LAB/SCD | N/A |  | N/A |  | Rectification | OG SST CONVERSION | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | OK | MANUAL MODE ONLY, ATS FOR REPLACEMENT | OK |  | OK |  | OK |  | OK |  | OK |  |  | B
763JAROPLAZA_021317.pdf | 763 | JARO PLAZA | 2017-02-13 | JJO | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK | Auto Mode | Off |  | OK |  | OK |  | OK |  | OK |  |  | A
766LEON_030317.pdf | 766 | LEON | 2017-03-03 | JJO | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK | Auto Mode | Off |  | OK |  | OK |  | OK |  | OK |  |  | A
767SANMIGUEL_012417.pdf | 767 | SAN MIGUEL | 2017-01-24 | JJO | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK | Facing San Miguel SUN: -33.9 dbm -36.3 dbm Facing F52 Duyanduyan: -33.9 dbm, -39.7 dbm -35.3 dbm, -39.9 dbm | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK | Auto Mode | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
773CALAPARAN_022117.pdf | 773 | Calaparan | 2017-02-21 | ATD/JAU | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK | No AC Mains alarm due to defective battery | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | Rectification | Genset can fully charge batt. | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | Arnel P. Valerio | A | 2017-03-02
788DUMANGAS_030617.pdf | 788 | DUMANGAS | 2017-03-06 | SCD/JHP | N/A |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
819KIRAYAN_010917.pdf | 819 | Miag-ao Kirayan | 2017-01-09 | JAU/CBN | OK |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | Arnel P. Valerio | A | 2017-01-09
899 Sibalom.pdf | 899 | Sibalom | 2017-01-24 | JAU/CBN | OK |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | Arnel P. Valerio | A | 42759
E19SARABIA_020317.pdf | E19 | SARABIA MANOR HOTEL | 2017-02-03 | LAB/JJO | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK | *IBS/DAS | N/A |  | N/A |  | N/A |  | N/A | DAS | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | N/A | NO GENSET; TAP TO HOTEL | OK |  | N/A | IBS/DAS | OK |  | N/A |  | OK |  |  | A
F02ANINI-YRS_03272017.pdf | F02 | Anini-y Relay | 2017-03-27 | CBNebria/DYGabawa | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | Rectification | Genset#2 defective | OK |  | OK |  | OK |  | OK |  | OK |  |  | A | 42821
F03BAROTACVIEJO_010417.pdf | F03 | BAROTAC VIEJO | 2017-01-06 | LAB/SCD/JHP | N/A | SA NOT PERFORMED | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
F05CONCEPCION_011717.pdf | F05 | CONCEPCION | 2017-01-18 | LAB/SCD | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | OK | MANUAL OP ONLY, GENSET CRANKING DEFECTIVE | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
F06ALIMODIAN_012517.pdf | F06 | ALIMODIAN | 2017-01-25 | JJO | OK |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK | Facing SUN Alimodian: -38dbm | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK | Auto Mode | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
F07BINGAWAN_03142017.pdf | F07 | Bingawan | 2017-03-14 | SCD / JHP | OK |  | N/A |  | Rectification | ODU grounding terminated at tower member due to stolen down conductor. | N/A |  | N/A |  | OK |  | OK |  | OK | ODU grounding terminated at tower member due to stolen down conductor. | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | Rectification | Defective rectifier/ for replacement | OK |  | N/A |  | OK |  | OK | Manual operation only. | OK |  | Rectification | Stolen down conductor. | OK |  | OK |  | OK |  |  | A | 2017-03-14
F08CALINOG_02082017.pdf | F08 | Calinog | 2017-02-08 | SCD/JJO/JHP | OK |  | N/A |  | Rectification | Stolen Busbar | N/A |  | OK |  | OK |  | Rectification | Stolen grounding for feeder cable | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | Rectification | Stolen Busbar | OK |  | OK |  | OK |  |  | A | 2017-02-08
F11LAMBUNAO_02092017.pdf | F11 | Lambunao | 2017-02-09 | AGE / JHP | OK |  | N/A |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | Rectification | Defective ATS, Genset Manual Operation | OK |  | OK |  | OK |  | OK |  | OK |  |  | A | 2017-02-09
F27 METROPOLIS 020617.pdf | F27 | METROPOLIS | 2017-02-06 | Anjo G. Entes | OK |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
F33TAPAZ_03142017.pdf | F33 | Tapaz | 2017-03-14 | SCD / JHP | OK |  | N/A |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | Rectification | Defective rectifier/ for replacement | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  |  | A | 2017-03-14
F52STABARBARAAIRPORT_022417.pdf | F52 | Sta Barbara Airport | 2017-02-24 | SCD | OK |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | Rectification | stolen grounding | OK |  | OK |  | OK |  |  | A | 2017-02-24
F66 Tigbauan Barroc.pdf | F66 | Tigbauan Barroc | 2017-02-02 | JAU/CBN | OK |  | N/A |  | Rectification |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | Rectification | stolen | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | Arnel P. Valerio | A | 42768
I20DAYSHOTEK_032717.pdf | I20 | DAYS HOTEL (ATRIUM) | 2017-03-27 | LAB | N/A |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
J12RICA_020617.pdf | J12 | RICA VILLAGE | 2017-02-06 | Anjo G. Entes | OK |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
J28HAMTICVILLAVERT_03272017.pdf | J28 | Hamtic-Villabert | 2017-03-27 | CBNebria/DYGabawa | OK |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK | Prime site | N/A | Prime site | OK |  | OK |  | OK |  | OK |  |  | A | 42821
J64OBRERO_03222017.pdf | J64 | ILOILO-OBRERO | 2017-03-22 | LAB | N/A |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A | PRIME SITE | OK |  | OK |  | OK |  | OK |  |  | A
P34 SM City Iloilo.pdf | P34 | SM City Iloilo | 2017-02-22 | ATD/JHP | Rectification | 3G and LTE with VSWR Alarm. Coloc with the combiner with Globe. For isolation. | Rectification | 3G and LTE with VSWR Alarm. Coloc with the combiner with Globe. For isolation. | OK |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | OK |  | OK | No AC Mains alarm due to defective battery | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | OK |  | Rectification | Defective battery | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  |  | A | 42796
U66ZARRAGA-JALAUD SUR_031317.pdf | U66 | ZARRAGA-JALAUD SUR | 2017-03-13 | LAB | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
U74INCA_LAMBUNAO_02092017.pdf | U74 | Lambunao-Inca | 2017-02-09 | AGE / JHP | OK |  | N/A |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | Rectification | Defective ATS and Genset | OK |  | OK |  | OK |  | OK |  | OK |  |  | A | 2017-02-09
U87 GUIMBAL-NANGA 021617.pdf | U87 | GUIMBAL-NANGA | 2017-02-16 | Anjo G. Entes | OK |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
V0040PLDTLAPAZ_03222017.pdf | V0040 | PLDT LAPAZ | 2017-03-22 | LAB | N/A |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
V0061 Salogwayan Realay.pdf | V0061 | Salogwayan Relay | 2017-02-28 | Clifford B. Nebria | OK |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK | Manual operation | OK |  | OK |  | OK |  | OK |  | OK |  |  | Off | 2017-02-28
V0179SUNBAROTAC_NUEVO_012617.pdf | V0179 | SUN BAROTAC NUEVO | 2017-01-26 | LAB/SCD | N/A |  | N/A |  | Rectification | STOLEN | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
V0675 SUN ILOILO MISSION ROAD 021017.pdf | V0675 | SUN ILOILO MISSION ROAD | 2017-02-10 | Anjo G. Entes | OK |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
V0696 SUN Iloilo St Pauls Hospital.pdf | V0696 | SUN Iloilo St. Pauls Hospital | 2017-02-27 | ATD/AGE | OK |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK | No AC Mains alarm due to defective battery | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | Rectification | Defective battery | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  |  | A | 42796
V0959 South Fundidor.pdf | V0959 | Iloilo City-South Fundidor | 2017-02-08 | CBNebria/JAUrbano | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | Rectification | For rectification of AC Mains alarm | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | OK |  |  | A | 42774
V1040CALUMPANG_03222017.pdf | V1040 | Iloilo Calumpang | 2017-03-22 | Anjo G. Entes | OK |  | N/A |  | Rectification | Stolen Grounding | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK | Outdoor Equipment with shelter | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK | no ATS | OK |  | OK |  | N/A | outdoor equipment | OK |  | OK |  |  | A
V1102Tacas_02212017.pdf | V1102 | TACAS | 2017-02-21 | Clifford B. Nebria | OK |  | N/A |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | Off |  | OK |  | N/A |  | OK |  | OK |  | N/A | FTK | OK |  | OK |  |  | A | 2017-02-21
V1103 Megaworld.pdf | V1103 | Megaworld | 2017-02-06 | JAU/CBN | OK |  | N/A |  | Rectification |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | Rectification |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | Arnel P. Valerio | A | 42772
V1504NEWLUCENAPOB_021717.pdf | V1504 | Sun New Lucena Poblacion | 2017-02-17 | SCDreo/JGOquis | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  |  | Off
V3414MAPATAG_032317.pdf | V3414 | Hamtic Mapatag | 2017-02-23 | JAU/CBN | OK |  | N/A |  | Rectification | stolen | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | Arnel P. Valerio | A | 42789
V3415SUNPATNONGON_032217.pdf | V3415 | Sun Patnongon | 2017-02-22 | JAU/CBN | OK |  | N/A |  | Rectification | stolen | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | Arnel P. Valerio | A | 42788
V3416 San Jose Bariri.pdf | V3416 | San Jose Bariri | 2017-02-03 | JAU/CBN | OK |  | N/A |  | Rectification | stolen | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | Arnel P. Valerio | A | 42769
V3533AJUY_TIPACLA_020217.pdf | V3533 | AJUY-TIPACLA | 2017-02-02 | LAB/SCD | Rectification | SEC 1 FOR RECTIFICATION | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK | NO ATS, MANUAL MODE ONLY | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
V3534SUNALIMODIAN_012517.pdf | V3534 | SUN ALIMODIAN | 2017-01-25 | JJO | OK |  | N/A |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK | Facing Alimodian: -36.3dbm | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
V3536SUNBANATE-BULARAN_011717.pdf | V3536 | SUN BANATE-BULARAN | 2017-01-19 | LAB/SCD | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | N/A | MANUAL OP ONLY, GENSET CRANKING DEFECTIVE. ATS FOR REPLACEMENT | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
V3539DGS-BUENAFLOR-EMBARKADERO_011717.pdf | V3539 | Dumangas-Buenaflor Embarkadero | 2017-01-17 | LAB/SCD | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
V3542BALABAGO_022117.pdf | V3542 | SUN ILOILO CITY BALABAGO | 2017-02-21 | CBN | OK |  | N/A |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK | Facing SUN Hechanova:-37dbm;-36.1dbm Facing SUN Iloilo 5: -34.5dbm;-39.7dbm;-35.9dbm;-40.9dbm Facing Jaro 2:-35.4dbm;-35.2dbm Facing Jaro Cubay:-34.1dbm;-33.9dbm | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK | Auto Mode | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
V3544 MH Del Pilar.pdf | V3544 | M.H. Del Pilar | 2017-03-02 | CBNebria/JAUrbano | OK |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK | No AC Mains alarm due to defective battery | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | Rectification | Defective battery | N/A |  | OK |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | OK |  |  | A | 42796
V3546NORTHBALUARTE_021317.pdf | V3546 | Sun Iloilo City-North Baluarte | 2017-02-13 | Anjo G. Entes | OK |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  |  | Off
V3548 Sta.Cruz.pdf | V3548 | Sta. Cruz | 2017-02-28 | Clifford B. Nebria | OK |  | N/A |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK | Stolen bus bar | OK |  | OK |  | OK |  |  | Off | 2017-02-28
V3554SUNLAMBUNAOPOB_02082017.pdf | V3554 | Sun Lambunao Pob Ilawod | 2017-02-08 | SCD/JJO/JHP | OK |  | N/A |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  |  | A | 2017-02-08
V3555 Sun Leganes.pdf | V3555 | Sun Leganes | 2017-03-03 | Clifford B. Nebria | OK |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | Off |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  |  | Off | 42796
V3556SUNMIAGAO_SANRAFAEL_010517.pdf | V3556 | SUN Miag-ao San Rafael | 2017-01-10 | JAU/CBN | OK |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | Off |  | Off |  | Off |  | OK |  | OK |  | N/A |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | Arnel Valerio | A | 2017-01-10
V3559OTON_CABANBANAN_011317.pdf | V3559 | Oton Cabanbanan | 2017-01-13 | JAU | OK |  | N/A |  | Rectification | stolen bussbar & groundings | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | Arnel P. Valerio | A | 2017-01-13
V3560PASSI_MAN-IT_02232017.pdf | V3560 | Sun Passi Man it | 2017-02-23 | LAB/SCD | OK |  | N/A |  | Rectification | STOLEN BUS BAR/GROUNDING | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | Rectification | STOLEN GROUNDING AND BUSBAR | OK |  | OK |  | OK |  |  | A | 2017-02-23
V3564SUNSANMIGUEL_012417.pdf | V3564 | SUN SAN MIGUEL | 2017-01-24 | JJO | OK |  | N/A |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK | Facing San Miguel: -33.4dbm | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
V3565SUNTIGBAUAN_011217.pdf | V3565 | SUN Tigbauan | 2017-01-12 | JAU/CBN | OK |  | N/A |  | Rectification | stolen bussbar & groundings | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | N/A |  | OK |  | Rectification | for rehab | OK |  | OK |  | OK |  | Arnel P. Valerio | A | 2017-01-12
V3691SANNICOLAS_022817.pdf | V3691 | San Nicholas | 2017-02-28 | Clifford B. Nebria | OK |  | N/A |  | Rectification | Stolen grounding and bus bar | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | Rectification | Defective battery charger and battery | OK |  | OK | Stolen bus bar | OK |  | OK |  | OK |  |  | Off | 42794
V3709 Sun La-an Cabariwan.pdf | V3709 | Sun Laua-an Cabariwan | 2017-02-23 | JAU/CBN | OK |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | OK | NO ATS | OK |  | OK |  | N/A |  | OK |  | OK |  | Arnel P. Valerio | A | 42789
V3729SUNNORTHSANJOSE_030317.pdf | V3729 | Sun North San Jose | 2017-03-03 | Anjo G. Entes | OK |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
V3730STONINOSUR_03222017.pdf | V3730 | Sto. Nino Sur | 2017-03-22 | Anjo G. Entes | OK |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
V3731ONATEDELEON_011317.pdf | V3731 | Onate De Leon | 2017-01-13 | JAU | OK |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | Arnel P. Valerio | A | 42748
V3732SUNILO_QUEZON_012617.pdf | V3732 | Sun Iloilo City Quezon | 2017-01-26 | Anjo G. Entes | OK |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | Rectification | Defective ATS. Struck by lightning. | OK |  | OK |  | OK |  | OK |  | OK |  |  | Off
V4315SUNTOBIASFORNIER_03282017.pdf | V4315 | Sun Tobias Fornier | 2017-03-28 | CBNebria/DYGabawa | OK |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK | Manual operation. No ATS. | OK |  | OK |  | OK |  | OK |  | OK |  |  | A | 42822
V4316SANPEDRO_030917.pdf | V4316 | San Pedro | 2017-03-09 | JAU/CBN | OK |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | OK | NO ATS | OK |  | OK |  | N/A |  | OK |  | OK |  | Arnel P. Valerio | A | 2017-03-09
V4355SANENRIQUE_02272017.pdf | V4355 | Sun San Enrique Pob Ilawod | 2017-02-27 | LAB/SCD | OK |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  |  | A | 2017-02-27
V4395SunPassiCityPobIlawod_02232017.pdf | V4395 | SUN PASSI CITY POB ILAWOD | 2017-02-23 | LAB/SCD | OK |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | Rectification | STOLEN GROUNDING | OK |  | OK |  | OK |  |  | A | 2017-02-23
V5082WVMC_022217.pdf | V5082 | SUN Iloilo City WVMC | 2017-02-22 | ATD/JHP | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | Rectification | Defective battery | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | Arnel P. Valerio | A | 2017-03-02
V5086 Anini-y Salvacion.pdf | V5086 | Anini-y Salvacion | 2017-01-24 | JAU/CBN | OK |  | N/A |  | OK | stolen | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | OK |  | Arnel P. Valerio | A | 42759
V5088HECHANOVA_022817.pdf | V5088 | Hechanova | 2017-02-28 | ATD/JHP | OK |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK | No AC Mains alarm due to defective battery | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | Rectification | Genset can fully charge batt. | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | Arnel P. Valerio | A | 2017-03-02
V5089 Timawa.pdf | V5089 | Timawa Tanza II | 2017-03-02 | CBNebria/JAUrbano | OK |  | N/A |  | Rectification | Stolen grounding | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK | No AC Mains alarm due to defective rectifier PMU | Rectification | Stolen grounding | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | Rectification | Defective PMU | OK |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | OK |  |  | A | 42796
V5174SUNMINA_030617.pdf | V5174 | Mina | 2017-03-10 | JAU/CBN | OK |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | N/A | NO ATS | OK |  | OK |  | N/A |  | OK |  | OK |  | Arnel P. Valerio | A | 2017-03-10
V5203AJUY_MALAYUAN_010617.pdf | V5203 | AJUY-MALAYUAN | 2017-01-06 | LAB/SCD/JHP | N/A | SA NOT PERFORMED | N/A |  | Rectification | STOLEN: BUSBAR & CABLE | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | Rectification | NO ATS, GENSET NOT WORKING | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
V5204BAROTAC NUEVO-TIWI_010417.pdf | V5204 | Barotac Nuevo-Tiwi | 2017-01-16 | LAB/SCD | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
V5205OTON_STARITA_011117.pdf | V5205 | Oton Sta. Rita | 2017-01-11 | JAU/CBN | OK |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | N/A |  | Rectification | damage entrance gate | OK |  | Arnel P. Valerio | A | 2017-01-11
V5206SAN DIONISIO-BAGACAY_010417.pdf | V5206 | SAN DIONISIO-BAGACAY | 2017-01-04 | LABINAS | N/A | SA NOT PERFORMED | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK | FACING CONCEPCION @ 175 deg (MAIN: 130 ft / DIV: 120 ft) | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A | equipment built-in | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | N/A | outdoor basepad | OK |  | OK |  |  | A
V5209BUGASONGZARAGOSA_032217.pdf | V5209 | Bugasong Zarragosa | 2017-01-22 | JAU/CBN | OK |  | N/A |  | OK | stolen | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | OK |  | Arnel P. Valerio | A | 42757
V5210 ILOILO-SAMBAG DLD 021017.pdf | V5210 | ILOILO-SAMBAG DLD | 2017-02-10 | Anjo G. Entes | OK |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
V5211DUMANGAS-CATAMNAN_011717.pdf | V5211 | Dumangas-Catamnan | 2017-01-17 | LAB/SCD | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | OK |  |  | A
V5215SUNILO_COMPANIA_021317.pdf | V5215 | Sun Iloilo City-Compania | 2017-02-13 | Anjo G. Entes | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  |  | Off
V5270HARBORVIEWHOTEL_022117.pdf | V5270 | HARBOR VIEW HOTEL | 2017-02-21 | LABINAS | N/A | SA NOT PERFORMED | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A | equipment built-in | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | OK |  |  | A
V5271WESTOWN_030317.pdf | V5271 | Iloilo Westown Hotel | 2017-03-03 | Anjo G. Entes | OK |  | N/A |  | OK |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  |  | A
V5279SUNSTABARBARA_03212017.pdf | V5279 | Sun Sta Barbara | 2017-03-21 | SCD/AGE | OK |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | Off |  | OK |  | OK |  | OK | Manual Operation only | OK |  | Rectification | Stolen down conductor for lightning arrester | OK |  | OK |  | OK |  |  | A | 42815
V5303 Igdalaguit.pdf | V5303 | Tobias Fornier-Igdalaguit | 2017-03-01 | CBNebria/JAUrbano | OK |  | N/A |  | Rectification | Stolen grounding and bus bar | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | Rectification | Stolen grounding and bus bar | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | N/A |  | OK |  | OK |  |  | A | 42795
V5600 Buhang.pdf | V5600 | Sun Iloilo City-Buhang | 2017-02-09 | CBNebria/JAUrbano | OK |  | N/A |  | OK |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | OK |  | N/A |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK | Prime site | OK |  | OK |  | OK |  | OK |  | OK |  |  | A | 42775
V5801SMILOANNEX_022217.pdf | V5801 | SM Iloilo MAll Annex | 2017-02-22 | ATD/JHP | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | OK |  | N/A |  | N/A |  | OK |  | Rectification | Defective battery | N/A |  | OK |  | N/A |  | OK |  | OK |  | OK |  | OK |  | OK |  |  | A | 42796