## SUMMARY
Facility |  | 2016 Q1 |  |  |  |  | 2016 Q2
|  | MM | NLUZ | SLUZ | VIS | MIN | MM | NLUZ | SLUZ | VIS | MIN
ACU | Target | [8 empty] | 44
Implemented
% completion
Genset | Target | [8 empty] | 4
Implemented
% completion
Rectifier | Target | [8 empty] | 69
Implemented
% completion
Battery | Target | [8 empty] | 414
Implemented
% completion
ATS | Target | [8 empty] | 58
Implemented
% completion

## ATS
Cluster | SITE_ID | SERIAL | BRAND | STATUS | REMARKS
1 | Z23 | 0911721 | POWERCITY | DEFECTIVE | For replacement
6 | V3411 |  | KUTAi | DEFECTIVE | for replacement
6 | 4238 | 10516 | Kutai | DEFECTIVE | For Replacement.
6 | 4308 |  | KUTAI | DEFECTIVE | for replacement
7 | 795 | 11110352 | POWERCITY | DEFECTIVE | ATS for replacement, unrepairable as per EDGECOMM.
7 | 796 | 909620 | POWERCITY | DEFECTIVE | ATS for replacement, unrepairable as per EDGECOMM.
7 | 3310 | 11261 | Kutai | DEFECTIVE | ATS for replacement, unrepairable as per EDGECOMM.
7 | 3311 | 11371 | Kutai | DEFECTIVE | ATS for replacement, unrepairable as per EDGECOMM.
7 | 3385 | 11918 | Kutai | DEFECTIVE | ATS for replacement, cannot be repaired as per EDGECOMM.
7 | 4209 | 11097 | Kutai | DEFECTIVE | ATS for replacement, cannot be repaired as per EDGECOMM.
7 | 4210 | 9672 | Kutai | DEFECTIVE | ATS for replacement, cannot be repaired as per EDGECOMM.
7 | 4281 | 11343 | Kutai | DEFECTIVE | ATS for replacement, cannot be repaired as per EDGECOMM.
7 | 4326 | 11327 | Kutai | DEFECTIVE | ATS for replacement, cannot be repaired as per EDGECOMM.
7 | 4328 | 0911806 | POWERCITY | DEFECTIVE | ATS for repalcement of fuse, manual switching of ATS.
7 | 4331 | 11669 | Kutai | DEFECTIVE | ATS for replacement, unrepairable as per EDGECOMM.
7 | F26 | 11877 | Kutai | DEFECTIVE | ATS for replacement, cannot be repaired as per EDGECOMM.
7 | f73 | 9719 | Kutai | DEFECTIVE | ATS for replacement, cannot be repaired as per EDGECOMM.
7 | V3431 | NO S.N. | NO BRAND | DEFECTIVE | ATS for replacement, cannot be repaired as per EDGECOMM.
7 | V5058 | 11110353 | POWERCITY | DEFECTIVE | ATS for replacement, cannot be repaired as per EDGECOMM.
1 | V0066 |  |  |  | NO ATS
1 | V3530 | NA | NA |  | No ATS
1 | v5073 |  |  |  | No ATS; No caretaker
4 | 734 |  |  |  | no ats
4 | 734 |  |  |  | no ats
4 | U74 |  |  |  | NO ATS
4 | F07 |  |  |  | no ATS
4 | -728 |  |  |  | no ATS
4 | V3709 |  |  |  | no ats
4 | V1103 |  |  |  | no ATS
4 | v5203 |  |  |  | no ATS
5 | 3348 |  |  |  | NO ATS
5 | 3364 |  |  |  | NO ATS
5 | 3364 |  |  |  | NO ATS
7 | 3305 |  |  |  | no ATS
7 | 3314 |  |  |  | NO ATS
7 | 4324 |  |  |  | No ATS
7 | 4325 |  |  |  | no ATS
7 | 4329 |  |  |  | No ATS
7 | 5405 |  |  |  | NO ATS
7 | V0008 |  |  |  | NO ATS
7 | V0969 |  |  |  | NO ATS
7 | V3323 |  |  |  | No ATS
7 | V3403 |  |  |  | NO ATS
7 | V3419 |  |  |  | NO ATS
7 | V3424 |  |  |  | No ATS
7 | V3712 |  |  |  | no ATS
7 | V4330 |  |  |  | no ATS
8 | V5226 |  |  |  | No ATS
9 | 4344 |  |  |  | NO ATS
9 | 831 |  |  |  | No ATS on site
9 | V0016 |  |  |  | NO ATS
9 | V0015 |  |  |  | NO ATS
9 | Z79 |  |  |  | NO ATS
9 | 4346 |  |  |  | NO ATS
9 | 4341 |  |  |  | NO ATS
9 | V0838 |  |  |  | NO ATS
9 | 3332 |  |  |  | NO ATS
9 | 4369 |  |  |  | NO ATS

## ACU
Cluster | SITE_ID | UPDATED_AT | SERIAL | BRAND | WARRANTY END DATE | STATUS | TYPE | REMARKS
1 | 820 | 42290 | 4710475 | CONDURA |  | DEFECTIVE |  | Def. compressor
1 | 873 | 42205 | 048401747 | Carrier |  | DEFECTIVE | WACU | Def. compressor
1 | 5835 | 42443 | 51QSXRACCON19KEDA10PC-0003075 |  |  | DEFECTIVE | CONDURA | defective compressor
1 | 5868 | 42402 | 0404134 | CONDURA |  | DEFECTIVE | WACU | Def. compressor
1 | 5888 | 42264 |  | CONDURA |  | DEFECTIVE |  | Def. compressor
1 | f63 | 42404 | 48410595 | CONDURA |  | DEFECTIVE | WACU | DEFECTIVE COMPRESSOR
1 | F67 | 42271 | 141701289 | CONDURA |  | DEFECTIVE |  | Def. compressor
1 | F89 | 42299 | 048404855 | CONDURA |  | DEFECTIVE |  | Def. compressor
1 | J53 | 42299 |  | CONDURA |  | DEFECTIVE |  | Def. compressor
1 | J77 | 42338 | 515203 |  |  | DEFECTIVE |  | Def. compressor
1 | V3427 | 42307 | 0376106 | CARRIER |  | DEFECTIVE |  | Def. compressor
1 | V3444 | 42299 | 0141430 | Carrier |  | DEFECTIVE | WACU | Def. compressor
1 | V3483 | 42338 | 0023456 | CARRIER |  | DEFECTIVE | WACU | Def. compressor
1 | V3495 | 42307 | 0568124 | CONDURA |  | DEFECTIVE |  | Def. compressor
1 | V3495 | 42307 | 013532004 | CONDURA |  | DEFECTIVE |  | Def. compressor
1 | V3501 | 42279 | 111628182 | CARRIER |  | DEFECTIVE |  | Def. compressor
1 | V3505 | 42304 |  | CARRIER |  | DEFECTIVE |  | No ACU
1 | V3506 | 42313 | 111628163 | CARRIER |  | DEFECTIVE |  | Def. compressor
1 | V3599 | 42331 | 0126507 | Carrier |  | DEFECTIVE | WACU | Def. compressor
1 | V3699 | 42205 | 0317926 | CARRIER |  | DEFECTIVE |  | Missing
1 | V3716 | 42340 | 61380 | CONDURA |  | DEFECTIVE | WACU | BLOWN COMPRESSOR
1 | V3716 | 42340 | 568119 | CONDURA |  | DEFECTIVE | WACU | BLOWN COMPRESSOR
1 | V3726 | 42278 | 11162992 | CARRIER |  | DEFECTIVE |  | Def. compressor
1 | V5139 | 41880 | 0061316 | CONDURA |  | DEFECTIVE | WACU | BLOWN COMPRESSOR
1 | V5139 | 42310 | 370751 | CONDURA |  | DEFECTIVE | WACU | BLOWN COMPRESSOR
1 | Z23 | 42271 | 0354013 | CONDURA |  | DEFECTIVE |  | Def. compressor
1 | Z23 | 42271 | 0477883 | CONDURA |  | DEFECTIVE |  | Def. compressor
1 | Z38 | 42315 |  | CONDURA |  | DEFECTIVE |  | Def. compressor
2 | -2533 | 42341 | 013532039 | CARRIER |  | DEFECTIVE |  | defective compressor
6 | 4336 | 42299 | 06088477 | Carrier |  | DEFECTIVE |  | for replacement
6 | 897 | 42299 | 111626976 | Carrier |  | DEFECTIVE |  | for replacement
7 | V0067 | 42437 |  |  |  | NO ACU 1 |  | NO ACU 1
8 | V3611 | 42012 | 0203682 | carrier |  | defective | WACU | defective compressor
9 | 4369 | 42242 | 328737 | CONDURA |  | DEFECTIVE |  | DEF. COMPRESSOR AND FAN MOTOR
9 | 3362 | 42242 | 48410101 | CONDURA |  | DEFECTIVE |  | DEF. COMPRESSOR AND FAN MOTOR
9 | 3357 | 42239 | 529334 | CONDURA | OUT OF WARRANTY | DEFECTIVE |  | DEF. COMPRESSOR AND FAN MOTOR
9 | V0030 | 42239 | 203857 | CONDURA | OUT OF WARRANTY | DEFECTIVE |  | DEF. COMPRESSOR AND FAN MOTOR
9 | 784 | 42239 | 196433 | CONDURA | OUT OF WARRANTY | DEFECTIVE |  | DEF. COMPRESSOR AND FAN MOTOR
9 | V0068 | 42239 | 141700870 | CONDURA | OUT OF WARRANTY | DEFECTIVE |  | DEF. COMPRESSOR AND FAN MOTOR
9 | J85 | 42239 | 645008 | CONDURA | OUT OF WARRANTY | DEFECTIVE |  | DEF. COMPRESSOR AND FAN MOTOR
9 | 3361 | 42239 | 470437 | CONDURA | OUT OF WARRANTY | DEFECTIVE |  | DEF. COMPRESSOR AND FAN MOTOR
9 | 3360 | 42239 | 393524 | CONDURA | OUT OF WARRANTY | DEFECTIVE |  | DEF. COMPRESSOR AND FAN MOTOR
9 | 3363 | 42239 | 393606 | CONDURA | OUT OF WARRANTY | DEFECTIVE |  | DEF. COMPRESSOR AND FAN MOTOR
9 | 3356 | 42239 | 393481 | CONDURA | OUT OF WARRANTY | DEFECTIVE |  | DEF. COMPRESSOR AND FAN MOTOR

## BATTERY
Cluster | SITE ID | UPDATED_AT | NO | BRAND | MODEL | BRAND | MODEL | BANKS | RATING | STATUS | BACKUP TIME | REMARKS
1 | V3498 | 2016-01-22 | 2 | Emerson | NA | Narada | AG12V100F | 1 | 100 | DEFECTIVE |  | for replacement
1 | V3494 | 2016-01-04 | 1 | ELTEK | HE | SACRED SUN | FAJ12-180 | 2 | 180 | DEFECTIVE |  | for replacement
1 | v3450 | 2016-04-20 | 21024004072074000204 | EMERSON | ACTURA FLEX 48420 | NARADA | AG12V100F | 3 | 100 | DEFECTIVE |  | For replacement
1 | V3513 | 2015-10-19 | 1 | Eltek | HE |  |  | 2 |  | DEFECTIVE |  | For replacement
1 | R01 | 2016-01-06 | 7N062023216 | POWERONE | PPS16 | POWERSAFE | 12V155FS | 4 | 155 | DEFECTIVE |  | Fast Draining; FOR REPLACEMENT OF NEW BATTERY
1 | V3497 | 2015-12-08 | 1 | EMERSON | NA | Narada | AG12V100F | 2 |  | DEFECTIVE |  | ok
1 | 5868 | 2016-02-02 | 1 | POWERONE | PPS16 | POWERSAFE | 12V155FS | 4 | 155 | DEFECTIVE |  | BLOATED BATT
1 | 825 | 2016-04-15 | 7N061142737 | POWERONE | POWERONE | NARADA | AG12V155F | 3 | 155 | DEFECTIVE |  | FOR REPLACEMENT
1 | 828 | 2013-04-26 | 1 | NOKIA |  | POWERSAFE | 12V155FS | 2 |  | DEFECTIVE | less than 30min | For replacement
1 | 828 | 2013-04-26 | 2 | NOKIA |  | RITAR | RA12-150F | 2 |  | DEFECTIVE | less tha 1h | For replacement
1 | 4398 | 2013-08-06 | 1 | HUAWEI |  | SHOTO | 6-XFMJ-90 | 2 | 100 | DEFECTIVE | lessthan 1hr.
1 | 5871 | 2016-03-31 | 210038251772 | ZTE | ZXDU68S301 | LEOCH | FTG12-150 | 4 | 150 | DEFECTIVE |  | NO BACK-UP TIME
1 | V3427 | 2013-04-26 | 1 | EMERSON | 48420 | NARADA | AG12V100F | 2 | 100 | DEFECTIVE | 0min. | For replacement
1 | V3449 | 2015-12-21 | 1 | EMERSON | ACTURA | RITAR | RA12-150F | 2 | 150 | DEFECTIVE
1 | V3452 | 2015-12-08 | 1 | Huawei | NA | Narada | NA | 2 |  | DEFECTIVE |  | ok
1 | V3454 | 2016-02-17 | 1 | EMERSON | ACTURA FLEX 48420 | RITAR | RA12-150F | 2 | 150 | DEFECTIVE |  | BLOATED FOR REPLACEMENT
1 | V3461 | 2016-02-10 | 1 | EMERSON | ACTURA FLEX 48420 | NARADA | AG12V100F | 2 | 100 | DEFECTIVE |  | FOR REPLACEMENT
1 | v3474 | 2016-02-10 | 1 | EMERSON | ACTURA FLEX 48420 | NARADA | AG12V100F | 4 | 100 | DEFECTIVE |  | BACK-UP LESS THAN 1 HOUR,FOR REPLACEMENT
1 | V3480 | 2015-11-27 | 1 | Emerson | na | Narada | AG12V100F | 3 |  | DEFECTIVE |  | defective batteries
1 | V3483 | 2015-11-30 | 1 | EMERSON | 48300 | NARADA | AG12V100F | 4 | 100 | DEFECTIVE |  | For replacement 4Banks
1 | V3487 | 2015-11-24 | 1 | Huawei | OUTDOOR 3012 | Narada | NA | 2 |  | DEFECTIVE |  | ok
1 | V3488 | 2015-11-27 | 1 | Emerson | M800D | Vision | 100Ah | 3 |  | DEFECTIVE |  | bloated batteries
1 | V3599 | 2015-11-23 | 1 | EMERSON | 48330 | Haze | HZY12-100FA | 8 | 100 | DEFECTIVE |  | For replacement 3Banks
1 | V3604 | 2015-10-28 | 1 | Emerson | NA | LYNX | NA | 4 |  | DEFECTIVE |  | Defective 4 banks Narada
1 | V3604 | 2015-10-28 | 2 | Eltek | NA | Narada | NA | 4 |  | DEFECTIVE |  | DEFECTIVE
1 | V3699 | 2013-04-26 | 1 | EMERSON | 48300 | Vision | CT12V-100X | 2 | 100 | DEFECTIVE | 30min. | For replacement
1 | v3703 | 2016-03-04 | 21010705842081EA0063 | EMERSON | ACTURA FLEX 48420 | LYNX | LNX12G-170FA | 1 | 170 | DEFECTIVE |  | DEFECTIVE; BLOATED AND LEAKING BATTERIES
1 | V3726 | 2015-10-01 | 1 | EMERSON | 48330 | NARADA | 12NDF100 | 3 | 100 | DEFECTIVE | 0hr. | For additional or replacement
1 | v5073 | 2016-03-02 | 1 | EMERSON | ACTURA FLEX 48420 | NARADA | AG12V100F | 2 | 100 | DEFECTIVE |  | for replacement
1 | V5155 | 2013-04-26 | 1 | EMERSON | 48420 | NARADA | AG12V100F | 2 | 100 | DEFECTIVE |  | for replacement
1 | V5267 | 2015-11-25 | 1 | ELTEK | HE | SACRED SUN | FAJ12-180 | 3 |  | DEFECTIVE |  | FOR REPLACEMENT
1 | P70 | 2013-04-26 | 1 | ZTE | ZXDU68 S301 | LEOCH | FTG12-150 | 4 | 150 | DEFECTIVE |  | for replacement
1 | V5314 | 2013-04-26 | 1 | ACBEL | API-6035 | Vision | CT12V-100X | 5 | 100 | DEFECTIVE |  | for replacement
1 | v5364 | 2016-04-14 | 21010705842103C20078 | EMERSON | ACTURA FLEX 48420 | NARADA | AG12V100F | 2 | 100 | DEFECTIVE |  | for replacement
1 | W90 | 2015-11-30 | 1 | POWERONE | PPS16 | POWERSAFE | 12V155FS | 4 | 155 | DEFECTIVE |  | For replacement
1 | W93 | 2015-12-11 | 2 | POWERONE | PPS16 | POWERSAFE | 12V155FS | 4 | 155 | DEFECTIVE |  | for replacement
1 | V3470 | 2015-10-26 | 2 | EMERSON | 48300 | VISION |  | 3 |  | DEFECTIVE |  | FOR REPLACEMENT
1 | 4396 | 2015-12-18 | 1 | POWERONE | PPS16 | Powersafe |  | 2 |  | DEFECTIVE |  | For replacement
1 | v3507 | 2015-12-02 |  | EMERSON | R48-2900U | Narada | AG12V100F | 2 |  | DEFECTIVE |  | no more back-up
1 | -1908 | 2015-12-02 |  | EMERSON | R48-2900U | Narada | AG12V100F | 2 | 180AH, 12V | DEFECTIVE |  | no more back-up
1 | V5137 | 2015-12-04 | 0100062 | HUAWEI | TP48200A | NARADA | 6-GFM-105F | 2 | 100AH | DEFECTIVE |  | FOR REPLACEMENT OF NEW SACRED SUN
1 | -1792 | 2015-10-24 | 1 | EMERSON |  | VISION |  | 3 |  | DEFECTIVE |  | FOR REPLACEMENT OF NEW SACRED SUN
1 | -915 | 2015-12-11 | 1 | EMERSON | ACTURA | ACME |  | 3 |  | DEFECTIVE
1 | v3700 | 2016-03-04 |  | ELTEK HE | HE 2000W | SACRED SUN | FAJ12-180GEL | 2 | 180 | DEFECTIVE |  | Bloated battery not installed and Eltek HE is not yet active
1 | -2956 | 2016-02-05 |  | EMERSON | ACTURA FLEX 48420 | NARADA | AG12V100F | 3 | 100 | DEFECTIVE |  | Bloated Batteries
1 | -3424 | 2016-04-05 | 2101070584207C35006C | EMPOWER | ACTURA FLEX 48420 | NARADA | AG12V100F | 1 | 100 | DEFECTIVE |  | FOR BATTERY REPLACEMENT
1 | -3291 | 2016-04-17 | 210107082212128B5010C | EMERSON | ACTURA FLEX 48420 | NARADA | AG12V100F | 2 | 100 | DEFECTIVE |  | bloated and leaking battery; no back-up
1 | -1794 | 2016-04-20 | 21024004072068000105 | EMERSON | ACTURA FLEX 48420 | NARADA | AG12V100F | 2 | 100 | DEFECTIVE |  | for replacement
2 | -3328 | 2015-01-01 | 1 | EMERSON | Actura | Haze | HZY12-100FA | 4 | 100 AH | DEFECTIVE
2 | -3313 | 2016-03-27 | 1 | EMERSON | 48420 | NARADA | AG12V100F | 2 | 100 AH | DEFECTIVE
2 | -2366 | 2015-01-01 | 1 | EMERSON | ACTURA | rada | AG12V100F | 3 | 100AH | DEFECTIVE
2 | -2020 | 2015-01-01 | 1 | EMERSON | Actura | Vision | CT12V-100X | 4 | 100AH | DEFECTIVE
2 | -1204 | 2016-03-27 | 1 | EMERSON | ACTURA | NARADA | AG12V100F | 1 | 100 | DEFECTIVE
2 | -58 | 2016-03-27 | 1 | EMERSON | ACTURA | NARADA | AG12V100F | 1 | 100 | DEFECTIVE
2 | Z78 | 2015-01-01 | 1 | POWERONE | PPS16 | RITAR/ POWERSAFE | RA12-150F | 1 | 150 | DEFECTIVE
2 | 3329 | 2015-01-01 | 1 | ELTEK | VALERE | Haze | HZY12-100FA | 3 | 100AH | DEFECTIVE
2 | 3387 | 2015-01-01 | 1 | HUAWEI OUTDOOR | BTS3900A | SHOTO | 6-XFMJ90 | 2 | 100 | DEFECTIVE
2 | 4287 | 2016-03-27 | 1 | PSSS |  | NARADA | 6-GFM-155F | 2 | 155AH | DEFECTIVE |  | 1 bank ritar and 1 bank narada
2 | -526 | 2015-01-01 | 1 | EMERSON | 48420 | RADA | AG12V100F | 3 | 100AH | DEFECTIVE
2 | -775 | 2016-03-27 | 1 | EMERSON | ACTURA | NARADA | AG12V100F | 1 | 100 | DEFECTIVE
2 | -835 | 2016-03-27 | 1 | EMERSON | 48330 | NARADA | AG12V100F | 6 | 100 | DEFECTIVE
2 | V3464 | 2015-01-01 | 1 | EMERSON | 48420 | RADA | AG12V100F | 3 | 100AH | DEFECTIVE
2 | V0687 | 2015-01-01 | 1 | EMERSON | 48330 | Vision | CT12V-100X | 2 | 100AH | DEFECTIVE
2 | V3543 | 2015-01-01 | 1 | EMERSON | 48420 | RADA | AG12V100F | 3 | 100AH | DEFECTIVE
2 | V3322 | 2015-01-01 | 1 | EMERSON | ACTURA | Haze | HZY12-100FA | 3 | 100AH | DEFECTIVE
2 | V3329 | 2015-01-01 | 1 | EMERSON | ACTURA | Vision | CT12V-100X | 3 | 100AH | DEFECTIVE
2 | V3387 | 2015-01-01 | 1 | EMERSON | ACTURA | HAZE | HZY12-100FA | 4 | 100 | DEFECTIVE
2 | V3442 | 2015-01-01 | 1 | EMERSON | 48330 | LYNX | LNX12G-170FA | 1 | 170AH | DEFECTIVE
2 | V3443 | 2015-01-01 | 1 | EMERSON | 48330 | SACRED SUN | FAJ12-180 | 2 | 180AH | DEFECTIVE
2 | V3455 | 2015-01-01 | 1 | EMERSON | 48330 | RADA | AG12V100F | 4 | 100 | DEFECTIVE
2 | v3462 | 2015-01-01 | 1 | EMERSON | 48420 | RADA | AG12V100F | 3 | 100AH | DEFECTIVE
2 | v3477 | 2015-01-01 | 2 | Ericsson Outdoor | RBS2116 | North Star | NSB 100 FT | 2 | 100AH | DEFECTIVE
2 | V3489 | 2015-01-01 | 1 | HUAWEI OUTDOOR | BTS3900A | Shoto | 6-XFMJ90 | 2 | 100AH | DEFECTIVE
2 | V3489 | 2015-01-01 | 2 | Ericsson Outdoor | RBS2116 | North Star | NSB 100 FT | 2 | 100AH | DEFECTIVE
2 | v3518 | 2015-01-01 | 2 | EMERSON | 48330 | RADA | AG12V100F | 1 | 100 | DEFECTIVE
2 | V3524 | 2015-01-01 | 1 | EMERSON | 48420 | Vision | CT12V-100X | 4 | 100AH | DEFECTIVE
2 | V3527 | 2015-01-01 | 1 | EMERSON | ACTURA | Vision | CT12V-100X | 1 | 100AH | DEFECTIVE
2 | V3693 | 2015-01-01 | 1 | HUAWEI OUTDOOR | BTS3900A | Shoto | 6-XFMJ90 | 2 | 100AH | DEFECTIVE
2 | V3693 | 2015-01-01 | 2 | Ericsson Outdoor | RBS2116 | North Star | NSB 100 FT | 2 | 100AH | DEFECTIVE
2 | V5009 | 2015-01-01 | 1 | HUAWEI OUTDOOR | BTS3900A | SHOTO | 6-XFMJ90 | 2 | 100AH | DEFECTIVE
2 | V5196 | 2015-01-01 | 1 | HUAWEI OUTDOOR | BTS3900A | SHOTO | 6-XFMJ90 | 2 | 100AH | DEFECTIVE
2 | V5197 | 2015-01-01 | 1 | HUAWEI OUTDOOR | BTS3900A | SHOTO | 6-XFMJ90 | 2 | 100AH | DEFECTIVE
2 | V5198 | 2015-01-01 | 1 | HUAWEI OUTDOOR | BTS3900A | SHOTO | 6-XFMJ90 | 2 | 100AH | DEFECTIVE
2 | V5199 | 2015-01-01 | 1 | HUAWEI OUTDOOR | BTS3900A | SHOTO | 6-XFMJ90 | 2 | 100AH | DEFECTIVE
2 | V5201 | 2015-01-01 | 1 | HUAWEI OUTDOOR | BTS3900A | SHOTO | 6-XFMJ90 | 2 | 100AH | DEFECTIVE
2 | V5280 | 2015-01-01 | 1 | Ericsson Outdoor | BTS3900A | North Star | NSB 100 FT | 2 | 100AH | DEFECTIVE
2 | V5281 | 2015-01-01 | 1 | HUAWEI OUTDOOR | BTS3900A | SHOTO | 6-XFMJ90 | 2 | 100AH | DEFECTIVE
2 | V5285 | 2015-01-01 | 1 | EMERSON | 48420 | Vision | CT12V-100X | 3 | 100AH | DEFECTIVE
2 | V5287 | 2015-01-01 | 2 | EMERSON | 48420 | Vision | CT12V-100X | 5 | 100AH | DEFECTIVE
2 | 888 | 2016-03-27 |  | EMPOWER |  | RITAR | RA12-150F | 2 | 150 | DEFECTIVE
2 | V0028 | 2016-03-27 |  | ELTEK CBI |  |  |  | 2 | 600 | DEFECTIVE |  | Battery FIAMM SCPEG600
2 | V0028 | 2016-03-27 |  | POWERONE |  | POWERSAFE | 12V155FS | 2 | 155 | DEFECTIVE
2 | V3433 | 2016-03-27 |  | EMERSON | ACTURA FLEX 2000 | NARADA | AG12V100F | 3 | 100 | DEFECTIVE
2 | V3721 | 2016-03-27 |  | EMERSON | ACTURA FLEX 48420 | NARADA | AG12V100F | 2 | 100 | DEFECTIVE
2 | V3724 | 2016-03-27 |  | EMERSON | ACTURA FLEX 48420 | NARADA | AG12V100F | 3 | 100 | DEFECTIVE
2 | V4287 | 2016-03-27 |  | EMERSON | ACTURA FLEX 48420 | NARADA | AG12V100F | 3 | 100 | DEFECTIVE
4 | F10 | 2016-03-02 | 1 | Nokia | Empower | Ritar | RA12-150F | 1 | 150 AH | DEFECTIVE | >2 HRS | FOR RETIRE
4 | F33 | 2016-02-18 | 1 | Nokia | Empower | Lynx | LNX12G-170FA S | 1 | 170 AH | DEFECTIVE | <4 HRS | FOR REPLACEMENT
4 | V3554 | 2016-01-01 | 1 | EMERSON |  | NARADA | AG12V100F | 3 | 100 | DEFECTIVE
4 | 729 | 2016-01-01 | 1 | Eltek/Nokia |  | Sacred Sun/Ritar |  | 4 | 150Ah | Defective
4 | 4358 | 2016-01-01 | 2 | PowerOne/Eltek |  | Powersafe/Ritar/Narada |  | 8 | 150Ah | Defective
4 | V3537 | 2016-01-01 | 1 | Emerson |  | Narada | AG12V100F | 2 | 100Ah | Defective
4 | -3494 | 2016-01-01 | 1 | Emerson |  | Narada | AG12V100F | 3 | 100Ah | Defective
4 | V3563 | 2016-03-07 | 1 | Emerson | Actura | Narada | 6-GFM-105F | 2 | 100 AH | DEFECTIVE | <2 HRS
4 | U66 | 2016-03-08 | 1 | Powerone | FMP16.48 | Powersafe | 12V155FS | 3 | 155 AH | DEFECTIVE | <4 HRS
4 | U66 | 2016-03-08 | 2 | Nokia | PSSS6600 | Ritar | RA12-150F | 2 | 150 AH | DEFECTIVE | <2 HRS
4 | 4231 | 2016-01-01 | 1 | Huawei | APM30 | Shoto |  | 2 | 100AH | DEFECTIVE | less than 30 mins | for replacement
4 | V5097 | 2016-01-01 | 1 | HUWAEI |  | SHOTO |  | 2 | 12V/100aH | DEFECTIVE | 1
4 | V5600 | 2016-01-01 | 5 | NOKIA/ELTEK/POWERONE |  | LYNX |  | 8 | 12V/180aH | DEFECTIVE | 2
4 | F02 | 2016-01-01 | 1 | HUAWEI |  | SHOTO |  | 2 | 12V/100aH | DEFECTIVE | 1
4 | V5086 | 2016-01-01 | 1 | HUAWEI |  | SHOTO |  | 2 | 12V/100aH | DEFECTIVE | 1
4 | V0061 | 2016-01-01 | 1 | HUAWEI |  | SHOTO/Narada |  | 4 | 12V/100aH | DEFECTIVE | 1
4 | V5207 | 2016-01-01 | 1 | HUAWEI |  | SHOTO |  | 2 | 12V/100aH | DEFECTIVE | 1
4 | V3556 | 2016-01-01 | 1 | EMERSON |  | NARADA |  | 2 | 12V/100aH | DEFECTIVE | 1
4 | -1945 | 2016-01-01 | 1 | EMERSON |  | NARADA |  | 2 | 12V/100aH | DEFECTIVE | 1
4 | V3533 | 2016-01-01 | 2 | PowerOne/Eltek |  | Powersafe/Ritar | AG12V100F | 4 | 100Ah | Defective
4 | 4244 | 2016-02-01 | 2 | Benning |  | Ritar | RA12-150F | 1 | 150 AH | DEFECTIVE | <0 HRS
4 | v5203 | 2016-01-26 | 1 | Huawei | R4850G | Shoto | 6FMX-100A | 2 | 100 AH | DEFECTIVE | <1 HR | FOR REPLACEMENT
4 | 4374 | 2016-02-17 | 1 | Huawei | APM30H | Shoto | 6FMX-100A | 2 | 100 AH | DEFECTIVE | <4 HRS
4 | V1504 | 2016-01-11 | 1 | Emerson | R48 | Ritar | RL2600 | 2 | 600 AH | DEFECTIVE | <2 HRS
4 | V3544 | 2016-01-18 | 1 | Emerson | R48 | Sacred Sun | FTB12-100 | 3 | 100 AH | DEFECTIVE | 0 HRS | BLOATED BATTERIES, FOR REPLACEMENT
4 | V3536 | 2016-01-26 | 1 | Emerson |  | Northstar | NSB100FT | 1 | 100 AH | DEFECTIVE | 0 HRS | FOR REPLACEMENT
4 | V3728 | 2016-03-04 | 1 | Emerson | R48420 | Narada | AG12V100f | 2 | 100 AH | DEFECTIVE | 0 HRS | BLOATED BATTERIES, FOR REPLACEMENT
5 | V0956 | 2016-02-26 |  | EMERSON | 48420 | SACRED SUN | FAJ12-180 | 4 | 180Ah | DEFECTIVE | 30MIN | BLOATED, DEFECTIVE DUE TO HIGH TEMP
5 | V3623 | 2016-02-26 |  | HUAWEI | APM200 | RITAR |  | 2 | 150 | DEFECTIVE
5 | V0978 | 2016-02-26 |  | HUAWEI | APM200 | RITAR |  | 2 | 150 | DEFECTIVE
5 | 4254 | 2016-02-26 | 1 | ELTEK |  | NARADA |  | 4 | 12V 155AH | DEFECTIVE | 0
5 | v3623 | 2016-02-26 | 1 | EMERSON | ACTURA | NARADA | AG12V100F | 4 | 12V 100AH | DEFECTIVE | 0
5 | V3624 | 2016-02-26 | 1 | EMERSON | ACTURA | NARADA | AG12V100F |  | 12V 100AH | DEFECTIVE | 0
5 | V3350 | 2016-01-27 | 1 | EMERSON | ACTURA | SACREDSUN |  | 2 | 12V 180AH | DEFECTIVE | <1
5 | -1299 | 2016-01-01 | 1 | EMERSON | ACTURA | NARADA |  | 2 | 12V 150AH | DEFECTIVE | <1
6 | 744 | 2015-10-22 | 1 | Powerone | FMP16.48 | Sacred Sun | GFMJ-300 | 2 | 300 AH | DEFECTIVE | < 1 hrs
6 | 5498 | 2015-10-22 | 1 | Powerone | FMP16.48 | Powersafe | 12V155FS | 2 | 155 AH | DEFECTIVE | <4 hrs
6 | 704 | 2015-10-22 | 1 | Powerone | FMP16.48 | Powersafe | 12V155FS | 3 | 155 AH | DEFECTIVE | <4 hrs
6 | 748 | 2015-10-22 | 1 | PSSS | 6600 | HAWKER |  | 3 | 155 AH | DEFECTIVE | <4 hrs
6 | V3407 | 2015-10-22 | 1 | Emerson |  | Sacred Sun | FAJ12-180 | 2 | 180 AH | DEFECTIVE | >6hrs
6 | V3404 | 2015-10-22 | 1 | Emerson |  | Narada | AG12V100F | 2 | 100 AH | DEFECTIVE | <4 hrs
6 | 704 | 2015-10-22 | 2 | Powerone | FMP16.48 | Powersafe | 12V155FS | 3 | 155 AH | DEFECTIVE | <4 hrs
6 | V0088 | 2015-10-22 | 2 | Powerone | FMP16.48 | Powersafe | 12V155FS | 2 | 155 AH | DEFECTIVE | <4 hrs
7 | 794 | 2015-08-26 | 1 | EMPOWER | 1100 | RITAR | RA12-150F | 2 |  | DEFECTIVE |  | Back up less than 4 Hrs. already requested
7 | 3305 | 2016-02-11 | 1 | POWERONE |  | POWERSAFE | 12V155FS | 2 | 150AH, 12V | DEFECTIVE | LESS 4 HOURS | ALREADY REQUESTED
7 | 4248 | 2016-02-29 | 1 | POWERONE |  | POWERSAFE | 12V155FS | 4 | 150AH, 12V | DEFECTIVE | LESS 4 HOURS
7 | 4325 | 2016-02-11 | 1 | HUAWEI |  | SHOTO | 6-XFMJ-90 | 2 | 90AH, 12V | DEFECTIVE | LESS 4 HOURS | ALREADY REQUESTED
7 | F26 | 2016-02-17 | 1 | HUAWEI |  | SHOTO | 6-XFMJ-90 | 2 | 90AH, 12V | DEFECTIVE | LESS 4 HOURS | ALREADY REQUESTED
7 | F74 | 2016-03-01 | 1 | ELTEK | HE | SACRED SUN | GFMJ-300 | 4 | 300AH, 2V | DEFECTIVE | LESS 4 HOURS
7 | V5293 | 2016-02-09 | 1 | EMERSON | MFU 48420 | NARADA | 12NDF100 | 4 | 100AH, 12V | DEFECTIVE | Less than 4 hours back up | ALREADY REQUESTED
8 | V1541 | 2015-08-25 | 1 | ELTEK | HE | ACME |  | 1 | 150 | DEFECTIVE
8 | V3611 | 2002-08-25 | 1 | EMERSON | EMERSON | SACRED SUN |  | 2 | 180 | DEFECTIVE
8 | 4371 | 2002-08-25 | 1 | POWERONE | POWERONE | ACME |  | 2 | 100 | DEFECTIVE
8 | V3617 | 2015-09-07 | 1 | ELTEK | HE | SHOTO |  | 1 | 100 | DEFECTIVE |  | LOW BACK UP TIME
8 | V3598 | 2015-11-12 | 1 | HUAWEI | HUAWEI |  |  | 2 | 100 | DEFECTIVE | 0
8 | 4364 | 2015-11-12 | 1 | EMPOWER | EMPOWER | SACRED SUN |  | 2 | 180 | DEFECTIVE
8 | V5225 | 2015-11-12 | 2 | HUAWEI | HUAWEI | LYNX |  | 2 | 170 | DEFECTIVE
9 | 3365 | 2016-02-18 |  | eltek | HE | sacred sun |  | 3 | 180 | DEFECTIVE | 0 | defective due to typhoon Nona
9 | 4277 | 2016-02-11 |  | eltek | HE | lynx |  | 2 | 170 | DEFECTIVE | 0 | low back-up time
9 | V0016 | 2016-02-02 | 1 | EMPOWER | 1100-14 | NARADA |  | 3 | 150AH | DEFECTIVE | 0H 5M | VERY LOW BACK-UP TIME. FOR BATTERY / RECTIFIER REPLACEMENT
9 | V3379 | 2016-02-23 | 1 | HUAWEI |  | SHOTO |  | 2 | 90 | DEFECTIVE
9 | V3679 | 2016-01-01 | 1 | HUAWEI |  | NARADA |  | 3 | 100 | DEFECTIVE
9 | 4299 | 2016-02-11 | 2 | PSSS |  | CHALLENGER |  | 3 | 160 | DEFECTIVE | < 2 HRS
9 | V0045 | 2016-01-01 | 1 | POWERONE |  | LYNX | LNX12G-170FA S | 2 |  | DEFECTIVE
9 | V3680 | 2016-02-10 | 1 | HUAWEI |  | NARADA |  | 2 | 100 | DEFECTIVE | <1 HR | 2 BANKS OF SACRED SUN ALREADY ON SITE. BATTERIES ARE TOO BIG FOR THE CABINET.
9 | V0826 | 2016-01-01 | 1 | EMERSON |  | ACME |  | 4 | 100 | DEFECTIVE

## RECTIFIER
Cluster | Site No. | Updated date | Brand | Status | Remarks
1 | 4305 | 2015-10-07 | ELTEK | DEFECTIVE | Newly installed pending tapping
1 | 834 | 2015-01-01 | ELTEK | DEFECTIVE
1 | V77 | 2016-02-02 | ELTEK | DEFECTIVE | STRUCK BY LIGHTNING
1 | V0062 | 2016-02-04 | ELTEK | DEFECTIVE
1 | 805 | 2016-04-06 | ELTEK HE | DEFECTIVE | For replacement
1 | V3512 | 2015-10-14 | EMERSON | DEFECTIVE
1 | -1204 | 2016-03-27 | EMERSON | DEFECTIVE
1 | -58 | 2016-03-27 | EMERSON | DEFECTIVE
1 | V3407 | 2015-10-22 | Emerson | DEFECTIVE | For replacement c/o WFM
1 | 4344 | 2016-02-19 | EMERSON | DEFECTIVE | FOR ARDA.
1 | F12 | 2015-01-01 | EMPOWER | DEFECTIVE
1 | 3301 | 2015-10-22 | Empower | DEFECTIVE | For replacement c/o WFM
1 | 788 | 2016-03-15 | EMPOWER | DEFECTIVE | FOR REPLACEMENT, DEFECTIVE DISPLAY (NO SPARE)
1 | 4221 | 2016-01-04 | NOKIA | DEFECTIVE | FOR RETIRE
1 | F33 | 2016-02-18 | Nokia | DEFECTIVE | for replacement
1 | F51 | 2015-11-24 | NOKIA PSSS | DEFECTIVE | NOKIA PSSS FOR REPLACEMENT. CONTROLLER GONE DEFECTIVE AFTER 3 MONTHS FROM THE DATE OF REPLACEMENT.
1 | F70 | 2015-11-24 | POWERONE | DEFECTIVE | For replacement GYV
1 | V0066 | 2016-01-20 | POwerOne | DEFECTIVE | DEFECTIVE CONTROLLER
1 | 4224 | 2016-03-27 | POWERONE | DEFECTIVE | Defective control module
1 | 3383 | 2015-10-22 | Powerone | DEFECTIVE | For replacement c/o WFM
1 | V0017 | 2016-02-27 | POWERONE | DEFECTIVE
1 | 4221 | 2016-01-04 | ZTE | DEFECTIVE | defective ZTE rectfifier controller; 1 RM DEFECTIVE
8 | F98 | 2015-12-11 | PSSS | WORKING | FOR REPLACEMENT
8 | 5879 | 2015-07-29 | PSSS | WORKING | FOR REPLACEMENT
8 | 802 | 2013-04-26 | PSSS | WORKING | FOR REPLACEMENT
8 | 802 | 2013-04-26 | PSSS | WORKING | FOR REPLACEMENT
8 | 825 | 2016-04-15 | PSSS | WORKING | FOR REPLACEMENT
8 | F67 | 2015-12-11 | PSSS | WORKING | FOR REPLACEMENT
8 | F71 | 2013-04-26 | PSSS | WORKING | FOR REPLACEMENT
8 | F90 | 2015-12-02 | PSSS | WORKING | FOR REPLACEMENT
8 | v5311 | 2016-03-03 | PSSS | WORKING | FOR REPLACEMENT
8 | 808 | 2015-01-01 | PSSS | WORKING | FOR REPLACEMENT
8 | 839 | 2016-03-27 | PSSS | WORKING | FOR REPLACEMENT
8 | 841 | 2015-01-01 | PSSS | WORKING | FOR REPLACEMENT
8 | 871 | 2015-01-01 | PSSS | WORKING | FOR REPLACEMENT
8 | 876 | 2015-01-01 | PSSS | WORKING | FOR REPLACEMENT
8 | F47 | 2015-01-01 | PSSS | WORKING | FOR REPLACEMENT
8 | F65 | 2015-01-01 | PSSS | WORKING | FOR REPLACEMENT
8 | 3317 | 2015-01-01 | PSSS | WORKING | FOR REPLACEMENT
8 | 3320 | 2015-01-01 | PSSS | WORKING | FOR REPLACEMENT
8 | 3327 | 2015-01-01 | PSSS | WORKING | FOR REPLACEMENT
8 | 4219 | 2015-01-01 | PSSS | WORKING | FOR REPLACEMENT
8 | 4223 | 2015-01-01 | PSSS | WORKING | FOR REPLACEMENT
8 | 4287 | 2016-03-27 | PSSS | WORKING | FOR REPLACEMENT
8 | 5847 | 2016-03-27 | PSSS | WORKING | FOR REPLACEMENT
8 | 864 | 2016-03-27 | PSSS | WORKING | FOR REPLACEMENT
8 | 5808 | 2015-08-24 | PSSS | Working | FOR REPLACEMENT
8 | 727 | 2015-10-22 | PSSS | WORKING | FOR REPLACEMENT
8 | 4318 | 2015-10-22 | PSSS | WORKING | FOR REPLACEMENT
8 | 748 | 2015-10-22 | PSSS | WORKING | FOR REPLACEMENT
8 | 4208 | 2016-02-10 | PSSS | WORKING | FOR REPLACEMENT
8 | 750 | 2016-03-23 | PSSS | WORKING | FOR REPLACEMENT
8 | 782 | 2016-01-19 | PSSS | WORKING | FOR REPLACEMENT
8 | 782 | 2016-01-19 | PSSS | WORKING | FOR REPLACEMENT
8 | 783 | 2016-01-29 | PSSS | WORKING | FOR REPLACEMENT
8 | 783 | 2016-01-29 | PSSS | WORKING | FOR REPLACEMENT
8 | 797 | 2016-01-29 | PSSS | WORKING | FOR REPLACEMENT
8 | 798 | 2016-03-01 | PSSS | WORKING | FOR REPLACEMENT
8 | 811 | 2016-01-15 | PSSS | WORKING | FOR REPLACEMENT
8 | 4217 | 2015-08-24 | PSSS | WORKING | FOR REPLACEMENT
8 | 750 | 2016-03-23 | PSSS | WORKING | FOR REPLACEMENT
8 | 810 | 2015-08-24 | PSSS | WORKING | FOR REPLACEMENT
8 | 4217 | 2015-08-24 | PSSS | WORKING | FOR REPLACEMENT
8 | 4323 | 2016-09-01 | PSSS | WORKING | FOR REPLACEMENT
8 | 4320 | 2016-09-01 | PSSS | WORKING | FOR REPLACEMENT
8 | 5876 | 2016-09-01 | PSSS | WORKING | FOR REPLACEMENT
8 | 4299 | 2016-02-11 | PSSS | WORKING | FOR REPLACEMENT
8 | F77 | 2016-02-10 | PSSS | WORKING | FOR REPLACEMENT
8 | V1576 | 2016-01-28 | PSSS | WORKING | FOR REPLACEMENT

## Genset
Cluster | SITE_ID | UPDATED_AT | SERIAL | BRAND | CAPACITY | STATUS | REMARKS
9 | 4344 | 2016-02-04 | 2752300 | DENYO | 25KVA | DEFECTIVE | Irrepairable. For ARDA
9 | 3381 | 2016-01-22 | 3755284 | DENYO | 25 | DEFECTIVE | UNREPAIRABLE
9 | 792 | 2016-01-22 | 718060067 | KIPOR | 45 | DEFECTIVE | UNREPAIRABLE
9 | V0004 | 2016-02-04 | G13121746 | POWERCITY | 15KVA | DEFECTIVE | CANNIBALIZED